## Sheet1
" 26 August 2022 , Job No. 11352, File name Vaucluse Residence Volumes (Rev E).xlsx"
Caluclations by Scott Murray, Registered Surveyor, Boxall Surveyors Pty Ltd - PO Box 519 Sutherland NSW 1499 - Tel 02 9521 5737
Voulume calculations using "22.08.16_ARCHITECTURAL_REV I_18 Olphert Avenue VAUCLUSE.pdf"
Boxall Terrain extracted from CAD file "2 Plan_SITE_DA 1_Rev D_DA436.20_18 Olphert Avenue VAUCLUSE.dwg"
Cut Volumes
Zone | RL | Boxall Volume
CELLAR GARDEN ROOM | 54.658 | 160.42
GUEST GARDEN ROOM | 54.658 | 95.75
SPA | 54.1 | 14.05 |  |  | Volume to top of spa less spa volume of 5m3
NORTH TERRACE * | 54.2 | 63.02 |  |  | * used raised garden edge line to spa shown on DA 5.1 plan
WEST TERRACE |  | 5.7
STOREROOM | 54.658 | 169.61 | [5 empty] | "=storeomlessbedabovestoreroom" |  |  | 169.61
RWT (tank only) | 58 | 16 | [5 empty] | 5m DIA TANK
Zones not on DA plans
BEDROOM LEVEL | 57.743 | 20.02 | [5 empty] | bed over storeroom = | 8.69 | 11.33
ATLANTIS SYSTEM * |  | 12 |  |  | * Volume as stated on NB Consulting design plan D01-B
POND TRENCH | 51.45 | 14.3
POOL SURROUNDS |  | 6.75
GARDEN |  | 18 | 6.54 nett | (Cut 18.00 Fill 11.46)
Grand Cut Total m3 |  | 595.62
Fill Volumes
Zone | RL | Boxall Volume
FRONT SETBACK |  | 50.3
EAST SIDE SETBACK GARDEN |  | 8.1
POOL SURROUNDS* |  | 39.52 | nett after pool cut | gross 136.72 | Less Pool Volume * | 64.8 x 1.5 = | 97.2
POOL FILL |  | 0
POOL FILL |  | 0
ORCHARD |  | 19.57
GARDEN |  | 11.46
Grand Fill Total m3 |  | 128.95
Net Cut m3 |  | 466.67